## Fillable TEMPLATE
SITE ID | LOCATIONAL IDENTIFIER | LEAD GOOSENECK CURRENTLY PRESENT? | CURRENT STREET SIDE SERVICE LINE MATERIAL | WAS STREET SIDE SERVICE LINE MATERIAL EVER PREVIOUSLY LEAD? | STREET SIDE SERVICE LINE SIZE | STREET SIDE SERVICE LINE INSTALL DATE | CURRENT PROPERTY SIDE SERVICE LINE MATERIAL | PROPERTY SIDE SERVICE LINE SIZE | PROPERTY SIDE SERVICE LINE INSTALL DATE | BUILDING TYPE | POINT-OF-ENTRY OR POINT-OF-USE TREATMENT PRESENT? | BUILDING PLUMBING MATERIAL 1 | BUILDING PLUMBING MATERIAL 2 | BUILDING PLUMBING MATERIAL INSTALL DATE | COMMENTS | BASIS OF STREET SIDE MATERIAL CLASSIFICATION | WAS STREET SIDE MATERIAL FIELD VERIFIED? | DATE OF STREET SIDE FIELD VERIFICATION, IF APPLICABLE | METHOD OF STREET SIDE FIELD VERIFICATION, IF APPLICABLE | BASIS OF PROPERTY SIDE MATERIAL CLASSIFICATION | WAS PROPERTY SIDE MATERIAL FIELD VERIFIED? | DATE OF PROPERTY SIDE FIELD VERIFICATION, IF APPLICABLE | METHOD OF PROPERTY SIDE FIELD VERIFICATION, IF APPLICABLE | NOTES ON BASIS OF MATERIAL CLASSIFICATION
1 | 518 N MAIBEN ST. | N | C | UNK | 1" | 2023-08-01 | P | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | N | 2024-04-10 | Mech excav
2 | 118 E MAIN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | 2008-08-11 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
3 | 514 N MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | 2007-09-17 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
4 | 508 N MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
5 | 504 W MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | 1978-06-25 | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
6 | 119 E MAIN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
7 | 408 W MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | UNKNOWN | MF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
8 | 404 W MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | 2023 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
9 | 220 E WISCONSIN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | 1983 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
10 | 306 W MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
11 | 300 N MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
12 | 310 MAIBEN ST. | N | C | N | 1" | 2023-08-01 | G | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
13 | 307 N MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
14 | 207 W MAIBEN ST. | N | C | N | 1" | 2023-08-01 | G | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
15 | 116 E ELMO ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-11 | Mech excav
16 | 208 N MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | 2008-08-11 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-11 | Mech excav
17 | 206 E ELMO ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-11 | Mech excav
18 | 115 W MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
19 | 109 W MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-11 | Mech excav
20 | 225 E ELMO ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | 1999-03-25 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
21 | 101 W MAIBEN ST. | N | C | N | 1" | 2023-08-01 | C | 3/4" | 1977-10-15 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-11 | Mech excav
22 | 102 MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | 2006-12-19 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-11 | Mech excav
23 | 105 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | G | 3/4" | 2008-01-16 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-11 | Mech excav
24 | 104 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | G | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
25 | 110 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | G | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
26 | 115 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | 1970 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
27 | 221 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
28 | 126 W MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
29 | 118 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
30 | 202 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | 1981 | OTH | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
31 | 208 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | G | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
32 | 209 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | 1978-04-25 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
33 | 212 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
34 | 305 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | 1970 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
35 | 120 E SCHOOL ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | 2011 | OTH | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
36 | 310 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | 1983 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
38 | 408 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | 2014 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
39 | 416 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | G | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
40 | 422 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | P | 3/4" | 2024 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
41 | 423 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-10 | Mech excav
42 | 435 S MAIBEN ST. | N | C | N | 3/4" | 2011-06-05 | C | 3/4" | 1981 | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-15 | Mech excav
43 | 204 E CENTER ST. | N | C | N | 3/4" | 2011-06-05 | G | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-16 | Mech excav
44 | 210 E CENTER ST. | N | C | N | 3/4" | 1983-07-01 | C | 3/4" | 1984 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Mech excav
45 | 213 E CENTER ST. | N | C | N | 3/4" | 1983-07-01 | P | 3/4" | 2005-09-14 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Mech excav
46 | 217 E CENTER ST. | N | C | N | 3/4" | 1983-07-01 | P | 3/4" | 1981 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Mech excav
47 | 117 E CENTER ST. | N | C | N | 3/4" | 1983-07-01 | C | 3/4" | 1981 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Mech excav
48 | 504 S MAIBEN ST. | N | C | N | 3/4" | 1983-07-01 | C | 3/4" | 1981 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Mech excav
49 | 510 S MAIBEN ST. | N | C | N | 3/4" | UNKNOWN | G | 3/4" | 1981 | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Mech excav
50 | 203 E KICKAPOO ST. | N | C | N | 3/4" | 1985 | C | 3/4" | 1981 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Customer self id
51 | 605 S 5TH ST. | N | C | N | 3/4" | 1985 | C | 3/4" | 1981 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Customer self id
52 | 613 S 4TH ST. | N | C | N | 3/4" | 1985 | P | 3/4" | 1981 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Customer self id
53 | 614 S 6TH ST. | N | C | N | 3/4" | 1985 | C | 3/4" | 1981 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Customer self id
54 | 616 S 6TH ST. | N | C | N | 3/4" | 1985 | C | 3/4" | 1981 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Customer self id
55 | 303 E KICKAPOO ST. | N | C | N | 3/4" | 1985 | C | 3/4" | 1993 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-04-22 | Customer self id
56 | 214 E KICKAPOO ST. | N | C | N | 3/4" | 1988-09-02 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-01 | Customer self id
57 | 220 E KICKAPOO ST. | N | C | N | 3/4" | 1985 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-01 | Customer self id
58 | 304 E KICKAPOO ST. | N | C | N | 3/4" | 1985 | C | 3/4" | 1981 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-01 | Customer self id
59 | 310 E KICKAPOO ST. | N | C | N | 3/4" | 1983 | C | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-01 | Customer self id
60 | 314 E KICKAPOO ST. | N | C | N | 3/4" | 1983 | P | 3/4" | 2017 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-01 | Customer self id
61 | 402 E KICKAPOO ST. | N | C | N | 3/4" | 1983 | C | 3/4" | UNKNOWN | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-01 | Customer self id
62 | 412 E KICKAPOO ST. | N | C | N | 3/4" | 1983 | C | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-01 | Customer self id
63 | 447 E KICKAPOO ST. | N | C | N | 3/4" | 1983 | C | 3/4" | UNKNOWN | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-08 | Customer self id
64 | 423 E KICKAPOO ST. | N | C | N | 3/4" | 1983 | C | 3/4" | 1978-10-12 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-08 | Customer self id
65 | 407 E KICKAPOO ST | N | C | N | 3/4" | 1983 | C | 3/4" | 1996-04-22 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-08 | Customer self id
66 | 506 S 6TH ST. | N | C | N | 3/4" | 1983 | C | 3/4" | 1982-08-20 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-08 | Customer self id
68 | 434 E CENTER ST. | N | C | N | 3/4" | 1983 | C | 3/4" | 1989 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-08 | Customer self id
69 | 422 E CENTER ST. | N | C | N | 3/4" | 1983 | C | 3/4" | 1990 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
70 | 431 S DRAKE LN. | N | C | N | 3/4" | 1983 | C | 3/4" | 1988 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-08 | Customer self id
71 | 312 E CENTER ST. | N | C | N | 3/4" | 1983 | C | 3/4" | 1975-11-12 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-08 | Customer self id
72 | 315 E CENTER ST. | N | C | N | 3/4" | 1983 | C | 3/4" | 1983 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-08 | Customer self id
73 | 220 E CENTER ST. | N | C | N | 3/4" | 2009 | C | 3/4" | 2008 | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-05-08 | Customer self id
75 | 106 N 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
76 | 116 N 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1984-09-17 | NONRES | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
77 | 106 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 2023-06-24 | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
78 | 112 S 4TH ST. | N | C | N | 3/4" | 1975 | G | 3/4" | UNKNOWN | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
79 | 120 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
80 | 124 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1976-05-24 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
81 | 105 E WINTER ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1977-08-11 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
82 | 206 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1977-09-13 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
83 | 214 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1977-08-05 | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
84 | 304 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1977-08-18 | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
85 | 312 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1976-08-09 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
86 | 409 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1982-04-18 | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
87 | 414 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1977-10-12 | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
88 | 112 E CENTER ST. | N | C | N | 1" | 1975 | C | 3/4" | UNKNOWN | NONRES | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
89 | 109 E CENTER ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1981-09-11 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
90 | 516 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | UNKNOWN | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
91 | 208 W CENTER ST. | N | C | N | 1" | 1988 | C | 3/4" | 1988-05-05 | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
92 | 310 W CENTER ST. | N | C | N | 3/4" | 1988 | C | 3/4" | 1988-05-05 | OTH | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
93 | 425 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1999-03-25 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
94 | 417 S 4TH ST. | N | C | N | 1" | 1975 | C | 3/4" | 1981 | MF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
95 | 403 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1976-05-05 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
96 | 315 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1976-08-10 | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
98 | 303 S 4TH ST. | N | C | N | 3/4" | 1975 | G | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
99 | 209 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1975 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
100 | 121 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | UNKNOWN | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
101 | 115 S 4TH ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 2014 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
102 | 107 W CHARLES ST. | N | C | N | 3/4" | 1975 | C | 3/4" | 1982-04-14 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
103 | 103 W 4TH ST. | N | C | N | 3/4" | 1976 | C | 3/4" | 1977-03-23 | MF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
104 | 107 N 4H ST. | N | C | N | 3/4" | 1976 | P | 3/4" | 16/6/1977 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
105 | 111 N 4TH ST. | N | C | N | 3/4" | 1976 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
106 | 201 N 4TH ST. | N | C | N | 3/4" | 1976 | C | 3/4" | 1981-11-01 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
107 | 205 N 4TH ST. | N | C | N | 3/4" | 1976 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
108 | 211 N 4TH ST. | N | C | N | 3/4" | 1976 | C | 3/4" | UNKNOWN | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
109 | 111 N 4TH ST. | N | C | N | 3/4" | 1994 | C | 3/4" | UNKNOWN | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
110 | 305 N 4TH ST. | N | C | N | 3/4" | 2012-08-28 | C | 3/4" | 1977-10-04 | MF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
111 | 110 N 4TH ST. | N | C | N | 3/4" | 1976 | C | 3/4" | 1977-02-28 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
112 | 120 N 4TH ST. | N | C | N | 3/4" | 1976 | G | 3/4" | UNKNOWN | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
113 | 202 N 4TH ST. | N | C | N | 3/4" | 1981 | C | 3/4" | 1981 | NONRES | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
114 | 208 W 4TH ST. | N | C | N | 3/4" | 1976 | C | 3/4" | 2000 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
115 | 212 N 4TH ST. | N | C | N | 3/4" | 1976 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
116 | 306 N 4TH ST. | N | C | N | 3/4" | 1976 | C | 3/4" | 1976-04-19 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
117 | 103 E WISCONSIN ST. | N | C | N | 3/4" | 1996-08-13 | C | 3/4" | 1996 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
118 | 107 E WISCONSIN ST. | N | C | N | 3/4" | 1996-08-13 | G | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
119 | 406 N 4TH ST. | N | C | N | 3/4" | 2009-05-14 | G | 3/4" | UNKNOWN | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
120 | 104 E MAIN ST. | N | C | N | 3/4" | 1980-06-03 | G | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
121 | 520 W 4TH ST. | N | C | N | 2" | 1975 | C | 3/4" | 1975 | MF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
122 | 622 N 4TH ST. | N | C | N | 3/4" | 1976 | P | 3/4" | 1983 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
123 | 628 N 4TH ST. | N | C | N | 3/4" | 1976 | G | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
124 | 603 N 4TH ST. | N | C | N | 3/4" | 1976 | C | 3/4" | 1977-02-05 | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
125 | 621 N 4TH ST. | N | C | N | 3/4" | 1982-06-08 | C | 3/4" | 1982-06-08 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
126 | 519 N 4TH ST. | N | C | N | 3/4" | 1984 | C | 3/4" | 1985 | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
127 | 501 N 4TH ST. | N | C | N | 3/4" | 2012-10-04 | C | 3/4" | 1994 | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
128 | 111 W PRAIRIE ST. | N | C | N | 3/4" | 1975 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
129 | 110 W MAIN ST. | UNK | UNK-LG | UNK | 3/4" | UNKNOWN | G | 3/4" | UNKNOWN | SF | N |  |  |  |  | Other - describe in notes | N |  | Other - describe in notes | SL repair/replace record | Y | 2024-01-01 | Customer self id | NEVER DUG UP
130 | 114 W MAIN ST. | UNK | UNK-LG | UNK | 3/4" | UNKNOWN | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Other - describe in notes | N |  | Other - describe in notes | SL repair/replace record | Y | 2024-01-01 | Customer self id | NEVER DUG UP
131 | 124 W MAIN ST. | UNK | UNK-LG | UNK | 3/4" | UNKNOWN | P | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Other - describe in notes | N |  | Other - describe in notes | SL repair/replace record | Y | 2024-01-01 | Customer self id | NEVER DUG UP
132 | 128 W MAIN ST. | N | C | N | 3/4" | UNKNOWN | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
133 | 128 W MAIN ST.--APTS | N | C | N | 1" | UNKNOWN | C | 1" | UNKNOWN | MF | UNK |  |  |  |  | SL repair/replace record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
134 | 204 W MAIN ST. | N | C | N | 3/4" | 1981 | C | 3/4" | 1983 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
135 | 308 W MAIN ST. | N | C | N | 3/4" | 1979-11-12 | G | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
136 | 405 N ELIZABETH ST. | N | C | N | 3/4" | 1979-11-12 | C | 3/4" | 1979-11-12 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
137 | 505 N ELIZABETH ST. | N | C | N | 3/4" | 1986-04-29 | C | 3/4" | 1979-11-12 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
138 | 314 W MAIN ST. | N | C | N | 3/4" | 2003-07-29 | C | 3/4" | 2003-07-29 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
139 | 322 W MAIN ST. | N | C | N | 3/4" | 1982-05-01 | C | 3/4" | 1986-06-19 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
140 | 315 W MAIN ST. | N | C | N | 3/4" | 2012-09-07 | G | 3/4" | 2012-08-07 | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
141 | 309 W FAYETTE ST. | N | C | N | 3/4" | UNKNOWN | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
142 | 310 W FAYETTE ST. | N | C | N | 3/4" | UNKNOWN | C | 3/4" | 1994-05-03 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
143 | 314 W FAYETTE ST. | N | C | N | 3/4" | 2001-02-14 | C | 3/4" | 2001-02-14 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
144 | 401 FAYETTE ST. | N | C | N | 3/4" | 2018-02-11 | C | 3/4" | 2010-04-12 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
145 | 203 N ELIZABETH ST. | N | C | N | 3/4" | 1981-04-10 | C | 3/4" | 1987-08-22 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
146 | 303 N ELIZABETH ST. | N | C | N | 3/4" | UNKNOWN | C | 3/4" | 1993 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
147 | 117 N RAILROAD ST. | N | C | N | 3/4" | 1983 | C | 3/4" | 1978-11-07 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
148 | 111 N RAILROAD ST. | N | C | N | 3/4" | 1993 | C | 3/4" | 1994-05-19 | NONRES | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
149 | 305 W RAILROAD ST. | N | C | N | 1" | 1993-05-25 | P | 3/4" | 1993-05-25 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
150 | 307 W RAILROAD ST. | N | C | N | 1" | 1993-05-25 | P | 3/4" | 1993-05-25 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
151 | 303 W RAILROAD ST. | N | C | N | 3/4" | 1988-03-04 | P | 3/4" | 2015-09-13 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
152 | 121 N 3RD ST. | N | C | N | 3/4" | 1986-03-20 | C | 3/4" | 1981-08-18 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
153 | 115 N 3RD ST. | N | C | N | 3/4" | UNKNOWN | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
154 | 106 N 3RD ST. | N | C | N | 3/4" | UNKNOWN | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
155 | 209 W CHARLES ST. | N | C | N | 3/4" | UNKNOWN | G | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
156 | 103 S 3RD ST. | N | C | N | 3/4" | 1981 | C | 3/4" | 1981 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
157 | 111 S RAILROAD ST. | N | C | N | 3/4" | 1988-06-02 | G | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
158 | 126 S 3RD ST. | N | C | N | 3/4" | 1981 | C | 3/4" | 1981 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
159 | 120 W CHARLES ST. | N | C | N | 3/4" | 2008-06-02 | G | 3/4" | UNKNOWN | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
160 | 109 W SMITH LN. | N | G | N | 3/4" | UNKNOWN | G | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
161 | 121 W ELMO ST. | N | C | N | 3/4" | 1983 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
162 | 116 W ELMO ST. | N | C | N | 3/4" | 1983 | G | 3/4" | UNKNOWN | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
163 | 117 W ELMO ST. | N | C | N | 3/4" | 1983 | C | 3/4" | 1977-05-16 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
164 | 123 W ELMO ST. | N | C | N | 3/4" | 2001-10-23 | C | 3/4" | 2001-10-23 | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
165 | 126 W ELMO ST. | N | C | N | 3/4" | 1984 | C | 3/4" | 1994 | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
166 | 109 W WISCONSIN AVE. | N | C | N | 3/4" | 1994 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
167 | 129 W WISCONSIN AVE. | N | C | N | 1" | 1994 | C | 3/4" | 1905-06-16 | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
168 | BLISS PARK | N | C | N | 3/4" | 2007-07-19 | C | 3/4" | 2007-07-19 | OTH | N |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
169 | 403 N RAILROAD ST. | N | C | N | 3/4" | 2007-07-23 | C | 3/4" | UNKNOWN | NONRES | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
170 | 130 S 3RD ST. | N | C | N | 3/4" | 1995 | C | 3/4" | 1990 | SF | Y |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
171 | 202 W CEMETERY ST. | N | C | N | 3/4" | 1995 | C | 3/4" | 1994 | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2024-01-01 | Customer self id
172 | 611 Brent St. | N | C | N | 3/4" | 1983 | P | 3/4" | 2023 | NONRES | N |  |  |  | New construction building-Dollar General | Installation record | Y |  | Mech excav | Installation record | Y | 2023-01-01 | Visual insp at meter
173 | 520 S. Maiben St. | N | C | N | 3/4" | 2011 | P | 3/4" | 2022 | NONRES | N |  |  |  |  | Installation record | Y |  | Mech excav | Installation record | Y | 2022-01-01 | Visual insp at meter
174 | 409 S. 4th St. | N | C | N | 3/4" | 1975 | P | 3/4" | 2021 | OTH | N |  |  |  |  | Installation record | Y |  | Mech excav | Installation record | Y | 2021-01-01 | Visual insp at meter
175 | 107 W CHARLES ST. | N | C | N | 3/4" | 1975 | C | 3/4" | UNKNOWN | SF | UNK |  |  |  |  | Installation record | Y |  | Mech excav | SL repair/replace record | Y | 2025-01-01 | CCTV - internal
177 | 120 W CHARLES ST. | N | C | N | 3/4" | 1995 | G | 3/4" | UNKNOWN | NONRES | N |  |  |  |  | Installation record | Y |  | Mech excav | Installation record | Y | 1995-01-01 | Visual insp at meter
178 | 208 E. SOUTH ST. | N | C | N | 3/4" | 1984 | G | 3/4" | UNKNOWN | SF | N |  |  |  |  | Installation record | Y |  | Mech excav | Installation record | Y | 1984-01-01 | Visual insp at meter
Note on B1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections. Every connection must have a unique identifier.
Note on D1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections.
Note on E1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections.
Note on H1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections.
Note on Q1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections.
Note on U1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections.

## Field Descriptions
Click here to open USEPA 2022 Guidance for Developing and Maintaining a Service Line Inventory
Note: Field names that are shadednavy are required for every service connection. Field names shaded blue are recommended, optional, or only required under certain conditions. See field descriptions for more information.
| Column | Description
A | SITE ID | PWS that do not wish to report site addresses to the department in column B can use this column to “link” their materials inventory table to a separate service address table for their own use. This column is optional, however, it strongly recommended that PWS enter the site ID for locations that are lead and copper monitoring sites in this column.
B | LOCATION IDENTIFIER | The location identifier can be the site address, however if there is more than one service connection at a given address, it must include additional detail. If the PWS does not wish to report addresses to the department it can be a block, intersection or landmark. This column is required per sub-subparagraph §141.84 (a)(8)(i) of the LCRR which requires that a location identifier be associated with each service line.
| Column | Description | Answer options |  | Answer Option Descriptions
C | GOOSENECK CURRENTLY PRESENT? | Is there a gooseneck, lead connector or pigtail present? PWS are required to track this information, if known. However, PWS are not required to conduct investigations to determine if a gooseneck is present. | Y | YES - WITH CERTAINTY
|  |  | N | NO - WITH CERTAINTY
|  |  | UNK | NOT KNOWN WITH CERTAINTY
D | CURRENT STREET SIDE SERVICE LINE MATERIAL | Service line pipe material, from the water main to curb stop. | L | CONFIRMED LEAD
|  |  | C | CONFIRMED COPPER
|  |  | G | CONFIRMED GALVANIZED
|  |  | P | CONFIRMED PLASTIC
|  |  | DI | CONFIRMED DUCTILE IRON
|  |  | CI-L | CONFIRMED LINED CAST IRON
|  |  | CI-U | CONFIRMED UNLINED CAST IRON
|  |  | UNK-LG | UNKNOWN - MAY CONTAIN LEAD OR GALVANIZED
|  |  | UNK-NOLG | UNKNOWN - DEFINITELY DOES NOT CONTAIN LEAD OR GALVANIZED
E | WAS STREET SIDE SERVICE LINE MATERIAL EVER PREVIOUSLY LEAD? | Was the service line ever previously lead? | Y | YES – SERVICE LINE WAS PREVIOUSLY LEAD
|  |  | N | NO – KNOWS WITH CERTAINTY THAT SERVICE LINE MATERIAL WAS NEVER PREVIOUSLY LEAD
|  |  | UNK | NOT KNOWN WITH CERTAINTY IF MATERIAL WAS EVER PREVIOUSLY LEAD
| Column | Description
F | STREET SIDE SERVICE LINE SIZE | Service line pipe diameter in inches, from the water main to curb stop. This information is useful as a screening tool as most lead service lines are 2 inches or less in diameter. Furthermore, PWSs are required to report service line size to the PSC for their annual report. This column may also be used by PWS that wish to track information required by both agencies in a single document. Column F is optional.
G | STREET SIDE SERVICE LINE INSTALL DATE | The four-digit year that the utility-side service was installed (i.e. 1974). If the exact year is not known, enter the decade (i.e. enter 1970 for any year in the 1970s) Althought this information is not required, it can be used as a screening tool to determine if the service line was installed before or after the lead ban (1986). Column G is optional.
H | CURRENT PROPERTY SIDE SERVICE LINE MATERIAL | Service line pipe material, from the curb stop to water meter. See Row D for answer options.
I | PROPERTY SIDE SERVICE LINE SIZE1 | Service line pipe diameter, in inches, from the curb stop to water meter. This information is useful as a screening tool as most lead service lines are 2 inches or less in diameter. Furthermore, PWS are required to report service line size to the PSC for their annual report. This column may also be used by PWS that wish to track information required by both agencies in a single document. Column I is optional.
J | PROPERTY SIDE SERVICE LINE INSTALL DATE | If the exact year is not known, enter the decade (i.e. enter 1970 for any year in in the 1970s). This information it can be used as a screening tool to determine if the service line was installed before or after the lead ban (1986). Column J is optional.
| Column | Description | Answer options |  | Answer Option Descriptions
K | BUILDING TYPE | The type of structure that is served water by the service connection. At a minimum, the PWS must identify the connection either SF, MF or NONRES. | SF | SINGLE-FAMILY RESIDENTIAL
|  |  | MF | MULTI-FAMILY RESIDENTIAL
|  |  | SCH/CC | SCHOOL OR CHILD CARE
This category may be used by the PWSs to track locations that must be monitored under §141.92.
|  |  | RES/CC | RESIDENTIAL & IN-HOME CHILD CARE
This category may be used by the PWSs to track locations that must be monitored under §141.92.
|  |  | NONRES | NONRESIDENTIAL ONLY, NO SCHOOL OR CHILD CARE.
|  |  | MIX | MIXED RESIDENTIAL & NONRESIDENTIAL, NO SCHOOL OR CHILD CARE.
|  |  | O | OTHER
L | POINT-OF-ENTRY OR POINT-OF-USE TREATMENT PRESENT? | Is the cold-water kitchen tap treated by point-of-entry or point-of-use softening, filter or other treatment? Column L is optional. | Y | YES - the sample tap is treated by a point of use or point of entry softener or filter
|  |  | N | NO - the sample tap is not treated by a point of use or point of entry softener or filter
|  |  | UNK | Presence or absence of POU and POE is UNKNOWN
M | BUILDING PLUMBING MATERIAL 1 | The type of plumbing materials inside the structure that water is deliver to. If there is more than one known plumbing material type, select the second material type in column N. Columns M and N are optional. | CLS | Copper with lead solder
|  |  | C | Copper, no lead solder
N | BUILDING PLUMBING MATERIAL 2 |  | O | Other material that is not copper, or copper with lead solder
|  |  | UNK | Unknown
| Column | Description
O | BUILDING PLUMBING MATERIAL INSTALL DATE | The four-digit year that the interior premise plumbing was installed. If the exact year is not known, you may enter the decade if the decade is not the 1980s. If the decade is the 1980s, you may enter one of the following: 1983-1984, <1983 or >1984. Column O is optional.
P | COMMENTS | Use this column information to enter any other information that the PWS finds helpful to them or any information they wish to share with the department. Column P is optional.
| Column | Description | Answer options |  | Answer Option Descriptions (Chapter 4 of EPA inventory guidance )
Q | BASIS OF STREET SIDE MATERIAL CLASSIFICATION | Use the drop-down menu to select the method used for materials classification. If the method you used is not one of the options, select other and describe the basis for classification in Column Y- Notes on materials classification. | Previous eval |  | Previous Materials Evaluation
|  |  | Installation record |  | Installation record (e.g., tap card)
|  |  | Installed after lead ban |  | Installation date after lead ban (1986)
|  |  | Diameter > 2 inches |  | Service line diameter is > 2 inches
|  |  | SL repair/replace record |  | Service line repair or replacement record
|  |  | Water sampling only |  | Water sampling only with no records
|  |  | Field inspection only |  | Field inspection only with no records
|  |  | Other - describe in notes |  | Other - if other is selected describe the basis for material classification in the Notes Column Y.
| Column | Description
R | WAS STREET SIDE MATERIAL FIELD VERIFIED? | Was the street side material field verified? Select "Y" for "Yes" or "N" for "No".
S | DATE OF STREET SIDE FIELD VERIFICATION, IF APPLICABLE | If you selected "Yes" in column R, enter the date (DD/MM/YYYY) or four-digit year that the material was field verified. This field is only required if "Yes" was selected in Column R.
| Column | Description | Answer options |  | Answer Option Descriptions (Chapter 5 of EPA inventory guidance)
T | METHOD OF STREET SIDE FIELD VERIFICATION, IF APPLICABLE | If PWS selected "Yes" in column R, select the method used for field verification. If the method you used is not one of the options, select other and describe the basis for classification in Column Y. This field is only required if "Yes" was selected in Column R. | Customer self id |  | Customer self-identification
|  |  | CCTV - internal |  | CCTV investigation at curb stop - internal
|  |  | CCTV - external |  | CCTV investigation at curb stop - external
|  |  | Mech excav |  | Mechanical excavation at one location
|  |  | Visual insp at meter |  | Visual inspection at the meter pit
|  |  | Visual insp during install or repair |  | Visual inspection during construction or repair
|  |  | Cross connection survey |  | Cross Connection survey
|  |  | Other |  | Other - describe in Notes Column Y
| Column | Description
U | BASIS OF PROPERTY SIDE MATERIAL CLASSIFICATION | Use the drop-down menu to select the method used for materials classification. If the method you used is not one of the options, select other and describe the basis for classification in Column Y. See Column Q for a description of and an explanation of answer options.
V | WAS PROPERTY SIDE MATERIAL FIELD VERIFIED? | Was the street side material field verified? Select "Y" for "Yes" or "N" for "No".
W | DATE OF PROPERTY SIDE FIELD VERIFICATION, IF APPLICABLE | If PWS selected "Yes" in column R, select the method used for field verification. If the method you used is not one of the options, select other and describe the basis for classification in Column Y. This field is only required if "Yes" was selected in Column V.
X | METHOD OF PROPERTY SIDE FIELD VERIFICATION, IF APPLICABLE | If you selected "Yes" in column V, select the method used for field verification. See column T for an explanation of answer options. This field is only required if "Yes" was selected in Column V.
Y | NOTES MATERIAL CLASSIFICATION | If PWS selected "other" in Columns Q, T, U or X, describe the basis for classification or field verification here. This field is only required if "other" was selected in column Q, T, U and/or X.

## FAQs
Why do Public Water Systems (PWSs) need to provide this information?
Under Section §141.84 of the Lead and Copper Rule Revision (LCRR), all community Public Water Systems (PWS) “must develop an inventory to identify the materials of service lines connected to the public water distribution system. The inventory must include all service lines connected to the public water distribution system regardless of ownership status.”
What specifically does the LCRR materials inventory require (columns D, E and H)?
Subparagraph §141.84 (a) (4) of the LCRR states that “each service line, or portion of the service line where ownership is split, must be categorized” as belonging to one of the following groups: lead; non-lead; lead status unknown; or galvanized requiring replacement. The information provided in columns D, E and H of the materials spreadsheet will enable the department to correctly assign every service line or portion thereof to one of these four categories.
What is the Site ID (column A)? Is this required?
The PWS can use this column to identify the site ID of lead and copper monitoring sites. For all other locations, the site ID is optional. PWSs that do not wish to report site addresses to the department in column B may want to use this column to “link” their materials inventory table to a separate service address table for their own use.
What is a locational identifier (column B)?
Sub-subparagraph §141.84 (a)(8)(i) of the LCRR requires a location identifier associated with each service line. The locational identifier can be the site address, or it can be a block, intersection or landmark.
The LCRR defines some categories of materials, such as ‘lead status’ and ‘galvanized downstream of lead’ differently in different sections of the rule. Thus, the spreadsheet is intended to be a simple and easy way for municipal PWSs to collect and report the information required now and in the future. The DNR will use the materials inventory data collected by the water system to categorize each of their service connections appropriately under each section of the LCRR.
Gooseneck, pigtail or lead connector present? (Column C)
Building Type (Column K)
Point-of-Use or Point-of-Entry Treatment Present? (Column L)
Building plumbing materials and plumbing install date (Columns M, N and O)
Property side service line material (Column H)
Property side service line size (Column I)
Property side service line install date (Column J)
Current street side service line material (Column D)
Was street side service line ever previously lead? (Column E)
Street side service line size (Column F)
Street side service line install date (Column G)
Materials Inventory Template For Drinking Water Systems Under The Lead And Copper Rule Revisions
Why do PWSs need to indicate whether a gooseneck is present (column C)?
Paragraph §141.86 (a) of the LCRR directs every public water system to “identify a pool of targeted sampling sites based on the service line inventory.” However, the materials information needed to categorize service lines in accordance with §141.84 alone is insufficient to identify these targeted sampling sites. Specifically, as per LCRR sub-paragraph §141.86 (a) (5), Tier 3 sampling sites include both single-family structures served by galvanized lines located downstream of a lead service line (i.e. confirmed galvanized requiring replacement) or downstream of a lead gooseneck, pigtail or connector.
Why do PWSs need to indicate whether a service line that is not currently lead was ever previously lead (column E)?
The materials history of the upstream utility service line is needed to correctly categorize customer-side galvanized service lines as either non-lead or galvanized requiring replacement under the LCRR. Sub-subparagraph §141.84 (a)(4)(ii) of the LCRR requires that public water systems identify locations where a galvanized service line “is or was at any time downstream of a lead service line” or “lead status unknown” service line as “galvanized requiring replacement”. If a water system knows with certainty that the utility side of a service line is not now, and never has previously been lead, then the downstream customer-side galvanized service line is identified as “non-lead”. If a PWS does not know this with certainty, the material is categorized as “galvanized requiring replacement.” However, as per paragraph §141.86 (a), galvanized service lines currently or formerly downstream of a lead gooseneck, pigtail, or connector are not identified as galvanized requiring replacement.
Are PWSs required to track the interior premise plumbing materials and install date at every service location in their system (columns M, N and O)?
This information is only required for service locations that are potential compliance sampling sites. If the PWS has at least as many Tier 1, Tier 2 and/or Tier 3 sampling sites as their required number of monitoring sites, then they are not required to track this information at this time. However, the PWS will be required to collect this information in the future, once all of their lead service lines and galvanized lines requiring replacement are removed. It is recommended that PWS collect this information on an ongoing basis whenever they are inside structures, as part of their normal operations.
Are PWSs required to track whether there is a point-of-entry (POE) or point-of-use (POU) treatment device at every service location (column L)?
This information is only required for service connections that are potential monitoring sites. Sub-paragraph §141.86 (1) of the LCRR states that “Sampling sites may not include sites with installed point-of-entry (POE) treatment devices and taps used at sampling sites may not have point-of-use (POU) devices designed to remove inorganic contaminants…” However, the department recommends that PWSs collect this information concurrently with premise plumbing materials at a given residence, so that PWSs don”t need to revisit residences that become potential monitoring sites once their lead and galvanized lines are removed.
Are PWSs required to use the DNR template?
No, PWSs are not required to use the DNR template for their materials inventory. However, PWSs that track their drinking water distribution system materials using a different method should provide all of the information requested in the template.
Do Municipal PWSs have to report this information to the DNR and PSC both?
Due to differences in the frequency and timing of reporting and the type of information reported, municipal public water systems will continue to report service line information annually to the Public Service Commission (W-22 and W-29) for the foreseeable future. However, the DNR and PSC are in discussions about how they can collaborate to minimize the amount of similar reporting to multiple agencies after the LCRR compliance date.
Materials Inventory Template For Drinking Water Systems Under The Lead And Copper Rule Revisions

## ANSWER LIST (hidden)
[7 empty] | Previous eval | Customer self id
Y | B | SF | L | L | 3/8" | Y | Installation record | CCTV - internal
N | K | MF | C | C | 1/2" | N | Installed after lead ban | CCTV - external
| A | SCH/DC | G | CLS | 5/8" | UNK | Diameter > 2 inches | Mech excav
|  | RES/CC | P | O | 3/4" |  | SL repair/replace record | Visual insp at meter
|  | NONRES | DI | UNK | 1" |  | Water sampling only | Visual insp during install or repair
|  | MIX | CI-L |  | 1 1/4" |  | Field inspection only | Cross-connection survey
|  | OTH | CI-U |  | 1 1/2" |  | Other - describe in notes | Other - describe in notes
|  |  | UNK-LG |  | 1 3/4"
|  |  | UNK-NOLG |  | 2"
3"
4"
6"
8"
10"
12"
14"
16"
OTH